## BidsOffers
Supply offers
| MCR | Price | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0
North Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0
West Wind | 500 | 0 | 200 | 250 | 250 | 400 | 300 | 50
South Wind | 200 | 0 | 150 | 100 | 100 | 100 | 200 | 200
Coal Gen | 2000 | 1000 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400
East Mine | 600 | 1500 | 600 | 600 | 600 | 600 | 600 | 600
Gas Gen | 1500 | 3000 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Demand bids / forecasts
| DR Capacity | DR Price | P1 | P2 | P3 | P4 | P5 | P6 | Peak Demand
East Agric | 200 | 1600 | 150 | 150 | 150 | 150 | 100 | 100 | 200
South Co-op | 100 | 1800 | 200 | 200 | 300 | 300 | 200 | 200 | 500
New Smelter | 600 | 2400 | 600 | 600 | 600 | 600 | 600 | 600 | 1200
Capital Munic | 0 | 5000 | 100 | 300 | 300 | 300 | 600 | 100 | 600
Port Town | 0 | 5000 | 100 | 100 | 100 | 100 | 100 | 100 | 200
East Mine | 0 | 5000 | 600 | 600 | 600 | 600 | 600 | 600 | 600
Load shedding | 0 | 75000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Demand |  |  | 1750 | 1950 | 2050 | 2050 | 2200 | 1700
Combined stack
| MCR | Price | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 |  | Supply | West
North Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 |  | Supply | East
West Wind | 500 | 0 | 200 | 250 | 250 | 400 | 300 | 50 |  | Supply | West
South Wind | 200 | 0 | 150 | 100 | 100 | 100 | 200 | 200 |  | Supply | West
Coal Gen | 2000 | 1000 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 |  | Supply | West
East Mine | 600 | 1500 | 600 | 600 | 600 | 600 | 600 | 600 |  | Supply | East
East Agric | 200 | 1600 | 150 | 150 | 150 | 150 | 100 | 100 |  | Demand | East
South Co-op | 100 | 1800 | 200 | 200 | 300 | 300 | 200 | 200 |  | Demand | West
New Smelter | 600 | 2400 | 600 | 600 | 600 | 600 | 600 | 600 |  | Demand | West
Gas Gen | 1500 | 3000 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 |  | Supply | East
Capital Munic | 0 | 5000 | 100 | 300 | 300 | 300 | 600 | 100 |  | Demand | East
Port Town | 0 | 5000 | 100 | 100 | 100 | 100 | 100 | 100 |  | Demand | East
East Mine | 0 | 5000 | 600 | 600 | 600 | 600 | 600 | 600 |  | Demand | East
Load shedding |  | 75000 | 0 | 0 | 0 | 0 | 0 | 0
Unconstrained Schedule
| MCR | Price | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0
North Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0
West Wind | 500 | 0 | 200 | 250 | 250 | 400 | 300 | 50
South Wind | 200 | 0 | 150 | 100 | 100 | 100 | 200 | 200
Coal Gen | 2000 | 1000 | 1400 | 1400 | 1220 | 1070 | 1400 | 1400
East Mine | 600 | 1500 | 0 | 200 | 0 | 0 | 300 | 50
East Agric | 200 | 1600 | -150 | -150 | -150 | -150 | -100 | -100
South Co-op | 100 | 1800 | -200 | -200 | -300 | -300 | -200 | -200
New Smelter | 600 | 2400 | -600 | -600 | -600 | -600 | -600 | -600
Gas Gen | 1500 | 3000 | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | 0 | 5000 | -100 | -300 | -300 | -300 | -600 | -100
Port Town | 0 | 5000 | -100 | -100 | -100 | -100 | -100 | -100
East Mine | 0 | 5000 | -600 | -600 | -600 | -600 | -600 | -600
Load shedding |  | 75000
|  |  | 0 | 0 | 0 | 0 | 0 | 0
Note: +ve production; -ve consumption
|  |  | P1 | P2 | P3 | P4 | P5 | P6
Clearing Price |  |  | 1000 | 1500 | 1000 | 1000 | 1500 | 1500
Constraint
West island | West |  | 950 | 950 | 910 | 910 | 1100 | 850 |  | Limit West to East to 1000 MW
East island | East |  | -950 | -950 | -910 | -910 | -1100 | -850
Constrained Schedule
| MCR | Price | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 |  | Supply | West
North Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 |  | Supply | East
West Wind | 500 | 0 | 200 | 250 | 250 | 400 | 300 | 50 |  | Supply | West
South Wind | 200 | 0 | 150 | 100 | 100 | 100 | 200 | 200 |  | Supply | West
Coal Gen | 2000 | 1000 | 1400 | 1400 | 1220 | 1070 | 1300 | 1400 |  | Supply | West
East Mine | 600 | 1500 | 0 | 200 | 0 | 0 | 400 | 50 |  | Supply | East
East Agric | 200 | 1600 | -150 | -150 | -150 | -150 | -100 | -100 |  | Demand | East
South Co-op | 100 | 1800 | -200 | -200 | -300 | -300 | -200 | -200 |  | Demand | West
New Smelter | 600 | 2400 | -600 | -600 | -600 | -600 | -600 | -600 |  | Demand | West
Gas Gen | 1500 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 |  | Supply | East
Capital Munic | 0 | 5000 | -100 | -300 | -300 | -300 | -600 | -100 |  | Demand | East
Port Town | 0 | 5000 | -100 | -100 | -100 | -100 | -100 | -100 |  | Demand | East
East Mine | 0 | 5000 | -600 | -600 | -600 | -600 | -600 | -600 |  | Demand | East
Load shedding |  | 75000
|  |  | 0 | 0 | 0 | 0 | 0 | 0
West island | West |  | 950 | 950 | 910 | 910 | 1000 | 850
East island | East |  | -950 | -950 | -910 | -910 | -1000 | -850
Difference in Schedule
| MCR | Price | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0
North Solar | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0
West Wind | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0
South Wind | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | 2000 | 1000 | 0 | 0 | 0 | 0 | -100 | 0
East Mine | 600 | 1500 | 0 | 0 | 0 | 0 | 100 | 0
East Agric | 200 | 1600 | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | 100 | 1800 | 0 | 0 | 0 | 0 | 0 | 0
New Smelter | 600 | 2400 | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | 1500 | 3000 | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | 0 | 5000 | 0 | 0 | 0 | 0 | 0 | 0
Port Town | 0 | 5000 | 0 | 0 | 0 | 0 | 0 | 0
East Mine | 0 | 5000 | 0 | 0 | 0 | 0 | 0 | 0
Load shedding |  | 75000 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0

## Intra-day
Intra-day -6 (IDM -6) Revised declarations | [8 empty] | Change from day-ahead (Against Instr) | [6 empty] | IDM -6 Schedule | [6 empty] | Change from day-ahead | [6 empty] | Intra-day -6 (IDM -6) Against Instruction | [6 empty] | Intra-day -6 (IDM -6) On Instruction | [6 empty] | Sign
| MCR | Price | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 240 | 240 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
North Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 240 | 240 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
West Wind | 500 | 0 | 200 | 260 | 260 | 405 | 320 | 100 | West Wind | 0 | 10 | 10 | 5 | 20 | 50 | West Wind | 200 | 260 | 260 | 405 | 320 | 100 | West Wind | 0 | 10 | 10 | 5 | 20 | 50 | West Wind | 0 | 10 | 10 | 5 | 20 | 50 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
South Wind | 200 | 0 | 150 | 100 | 100 | 100 | 200 | 200 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 150 | 100 | 100 | 100 | 200 | 200 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Coal Gen | 2000 | 1000 | 1400 | 1400 | 1220 | 1070 | 1300 | 1400 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 1400 | 1400 | 1210 | 1065 | 1260 | 1380 | Coal Gen | 0 | 0 | -10 | -5 | -40 | -20 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 0 | 0 | 10 | 5 | 40 | 20 | 1 | 0 | 1 | 1 | 0 | 1
East Mine | 600 | 1500 | 0 | 200 | 0 | 0 | 400 | 50 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 190 | 0 | 0 | 460 | 0 | East Mine | 0 | -10 | 0 | 0 | 60 | -50 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 10 | 0 | 0 | -60 | 50 | 1 | 1 | 0 | 0 | 1 | 1
East Agric | 200 | 1600 | -150 | -150 | -150 | -150 | -100 | -100 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | -150 | -150 | -150 | -150 | -100 | -100 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
South Co-op | 100 | 1800 | -200 | -200 | -290 | -290 | -180 | -180 | South Co-op | 0 | 0 | 10 | 10 | 20 | 20 | South Co-op | -200 | -200 | -290 | -290 | -180 | -180 | South Co-op | 0 | 0 | 10 | 10 | 20 | 20 | South Co-op | 0 | 0 | 10 | 10 | 20 | 20 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
New Smelter | 600 | 2400 | -600 | -600 | -600 | -600 | -600 | -600 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | -600 | -600 | -600 | -600 | -600 | -600 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Gas Gen | 1500 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Capital Munic | 0 | 5000 | -100 | -300 | -310 | -310 | -660 | -100 | Capital Munic | 0 | 0 | -10 | -10 | -60 | 0 | Capital Munic | -100 | -300 | -310 | -310 | -660 | -100 | Capital Munic | 0 | 0 | -10 | -10 | -60 | 0 | Capital Munic | 0 | 0 | -10 | -10 | -60 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Port Town | 0 | 5000 | -100 | -100 | -100 | -100 | -100 | -100 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | -100 | -100 | -100 | -100 | -100 | -100 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
East Mine | 0 | 5000 | -600 | -600 | -600 | -600 | -600 | -600 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | -600 | -600 | -600 | -600 | -600 | -600 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Load shedding |  | 75000 | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 10 | 10 | 5 | -20 | 70 |  | 0 | 10 | 10 | 5 | -20 | 70 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 10 | 10 | 5 | -20 | 70 |  | 0 | 10 | 10 | 5 | -20 | 70
[16 empty] | West | 950 | 960 | 920 | 920 | 1000 | 900 | [7 empty] | +ve Energy sold against instruction; -ve Energy purchased against instruction | [6 empty] | +ve Energy purchased on instruction; -ve Energy sold on instruction
[16 empty] | East | -950 | -960 | -920 | -920 | -1000 | -900 | [7 empty] | Intra-day price (-6) | 1000 | 1500 | 1000 | 1000 | 1500 | 1357.14 | (NB: Change in intra-day price calculation from current code - allows for a single price for IDM for each hour in either an upward *or downward* direction)
Intra-day 0 (IDM 0) Revised declarations | [8 empty] | Change from IDM -6 (Against Instr) | [6 empty] | IDM 0 Schedule | [6 empty] | Change from IDM -6 | [6 empty] | Intra-day 0 (IDM 0) Against Instruction | [6 empty] | Intra-day 0 (IDM 0) On Instruction
| MCR | Price | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 240 | 240 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
North Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 240 | 240 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
West Wind | 500 | 0 | 200 | 260 | 260 | 405 | 320 | 100 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 200 | 260 | 260 | 405 | 320 | 100 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
South Wind | 200 | 0 | 150 | 100 | 100 | 100 | 200 | 200 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 150 | 100 | 100 | 100 | 200 | 200 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Coal Gen | 2000 | 1000 | 1400 | 1400 | 1210 | 1065 | 1260 | 1380 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 1400 | 1400 | 1150 | 1000 | 1260 | 1380 | Coal Gen | 0 | 0 | -60 | -65 | 0 | 0 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 0 | 0 | 60 | 65 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0
East Mine | 600 | 1500 | 0 | 190 | 0 | 0 | 460 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 190 | 0 | 0 | 460 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
East Agric | 200 | 1600 | -150 | -150 | -150 | -150 | -100 | -100 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | -150 | -150 | -150 | -150 | -100 | -100 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
South Co-op | 100 | 1800 | -200 | -200 | -290 | -290 | -180 | -180 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | -200 | -200 | -290 | -290 | -180 | -180 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
New Smelter | 600 | 2400 | -600 | -600 | -600 | -600 | -600 | -600 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | -600 | -600 | -600 | -600 | -600 | -600 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Gas Gen | 1500 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Capital Munic | 0 | 5000 | -100 | -300 | -310 | -310 | -660 | -100 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | -100 | -300 | -310 | -310 | -660 | -100 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Port Town | 0 | 5000 | -100 | -100 | -100 | -100 | -100 | -100 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | -100 | -100 | -100 | -100 | -100 | -100 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
East Mine | 0 | 5000 | -600 | -600 | -540 | -535 | -600 | -600 | East Mine | 0 | 0 | 60 | 65 | 0 | 0 | East Mine | -600 | -600 | -540 | -535 | -600 | -600 | East Mine | 0 | 0 | 60 | 65 | 0 | 0 | East Mine | 0 | 0 | 60 | 65 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Load shedding |  | 75000 | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 60 | 65 | 0 | 0 |  | 0 | 0 | 60 | 65 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 60 | 65 | 0 | 0 |  | 0 | 0 | 60 | 65 | 0 | 0
[16 empty] | West | 950 | 960 | 860 | 855 | 1000 | 900 | [7 empty] | +ve Energy sold against instruction; -ve Energy purchased against instruction | [6 empty] | +ve Energy purchased on instruction; -ve Energy sold on instruction
[16 empty] | East | -950 | -960 | -860 | -855 | -1000 | -900 | [7 empty] | Intra-day price (0) | 1000 | 1500 | 1000 | 1000 | 1500 | 1500
Intra-day 6 (IDM 6) Revised declarations | [8 empty] | Change from IDM 0 (Against Instr) | [6 empty] | IDM 6 Schedule | [6 empty] | Change from IDM 0 | [6 empty] | Intra-day 6 (IDM 6) Against Instruction | [6 empty] | Intra-day 6 (IDM 6) On Instruction
| MCR | Price | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 240 | 240 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
North Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 240 | 240 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
West Wind | 500 | 0 | 200 | 260 | 260 | 405 | 320 | 100 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 200 | 260 | 260 | 405 | 320 | 100 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
South Wind | 200 | 0 | 150 | 100 | 100 | 100 | 200 | 200 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 150 | 100 | 100 | 100 | 200 | 200 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Coal Gen | 2000 | 1000 | 1400 | 1400 | 1150 | 1000 | 1260 | 1380 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 1400 | 1400 | 1150 | 1000 | 1260 | 1380 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
East Mine | 600 | 1500 | 0 | 190 | 0 | 0 | 460 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 190 | 0 | 0 | 460 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
East Agric | 200 | 1600 | -150 | -150 | -150 | -150 | -100 | -100 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | -150 | -150 | -150 | -150 | -100 | -100 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
South Co-op | 100 | 1800 | -200 | -200 | -290 | -290 | -180 | -180 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | -200 | -200 | -290 | -290 | -180 | -180 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
New Smelter | 600 | 2400 | -600 | -600 | -600 | -600 | -600 | -600 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | -600 | -600 | -600 | -600 | -600 | -600 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Gas Gen | 1500 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Capital Munic | 0 | 5000 | -100 | -300 | -310 | -310 | -660 | -100 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | -100 | -300 | -310 | -310 | -660 | -100 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Port Town | 0 | 5000 | -100 | -100 | -100 | -100 | -100 | -100 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | -100 | -100 | -100 | -100 | -100 | -100 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
East Mine | 0 | 5000 | -600 | -600 | -540 | -535 | -600 | -600 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | -600 | -600 | -540 | -535 | -600 | -600 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Load shedding |  | 75000 | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
P2-P6 occur after IDM 6, P1 locked | [15 empty] | West | 950 | 960 | 860 | 855 | 1000 | 900 | [7 empty] | +ve Energy sold against instruction; -ve Energy purchased against instruction | [6 empty] | +ve Energy purchased on instruction; -ve Energy sold on instruction
[16 empty] | East | -950 | -960 | -860 | -855 | -1000 | -900 | [7 empty] | Intra-day price (0) | 1000 | 1500 | 1000 | 1000 | 1500 | 1500
Intra-day 12 (IDM 12) Revised declarations | [8 empty] | Change from IDM 6 (Against Instr) | [6 empty] | IDM 12 Schedule | [6 empty] | Change from IDM 6 | [6 empty] | Intra-day 12 (IDM 12) Against Instruction | [6 empty] | Intra-day 12 (IDM 12) On Instruction
| MCR | Price | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 240 | 240 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
North Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 240 | 240 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
West Wind | 500 | 0 | 200 | 260 | 260 | 405 | 330 | 130 | West Wind | 0 | 0 | 0 | 0 | 10 | 30 | West Wind | 200 | 260 | 260 | 405 | 330 | 130 | West Wind | 0 | 0 | 0 | 0 | 10 | 30 | West Wind | 0 | 0 | 0 | 0 | 10 | 30 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
South Wind | 200 | 0 | 150 | 100 | 100 | 100 | 220 | 220 | South Wind | 0 | 0 | 0 | 0 | 20 | 20 | South Wind | 150 | 100 | 100 | 100 | 220 | 220 | South Wind | 0 | 0 | 0 | 0 | 20 | 20 | South Wind | 0 | 0 | 0 | 0 | 20 | 20 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Coal Gen | 2000 | 1000 | 1400 | 1400 | 1150 | 1000 | 1260 | 1380 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 1400 | 1400 | 1150 | 1000 | 1230 | 1330 | Coal Gen | 0 | 0 | 0 | 0 | -30 | -50 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 0 | 0 | 0 | 0 | 30 | 50 | 1 | 0 | 0 | 0 | 0 | 1
East Mine | 600 | 1500 | 0 | 190 | 0 | 0 | 460 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 190 | 0 | 0 | 460 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
East Agric | 200 | 1600 | -150 | -150 | -150 | -150 | -100 | -100 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | -150 | -150 | -150 | -150 | -100 | -100 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
South Co-op | 100 | 1800 | -200 | -200 | -290 | -290 | -180 | -180 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | -200 | -200 | -290 | -290 | -180 | -180 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
New Smelter | 600 | 2400 | -600 | -600 | -600 | -600 | -600 | -600 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | -600 | -600 | -600 | -600 | -600 | -600 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Gas Gen | 1500 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Capital Munic | 0 | 5000 | -100 | -300 | -310 | -310 | -660 | -100 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | -100 | -300 | -310 | -310 | -660 | -100 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Port Town | 0 | 5000 | -100 | -100 | -100 | -100 | -100 | -100 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | -100 | -100 | -100 | -100 | -100 | -100 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
East Mine | 0 | 5000 | -600 | -600 | -540 | -535 | -600 | -600 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | -600 | -600 | -540 | -535 | -600 | -600 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Load shedding |  | 75000 | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 30 | 50 |  | 0 | 0 | 0 | 0 | 30 | 50 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 30 | 50 |  | 0 | 0 | 0 | 0 | 30 | 50
P4, P5 and P6 occur after IDM 12, others locked | [15 empty] | West | 950 | 960 | 860 | 855 | 1000 | 900 | [7 empty] | +ve Energy sold against instruction; -ve Energy purchased against instruction | [6 empty] | +ve Energy purchased on instruction; -ve Energy sold on instruction
[16 empty] | East | -950 | -960 | -860 | -855 | -1000 | -900 | [7 empty] | Intra-day price (0) | 1000 | 1500 | 1000 | 1000 | 1000 | 1000
Intra-day 18 (IDM 18) Revised declarations | [8 empty] | Change from IDM 12 (Against Instr) | [6 empty] | IDM 18 Schedule | [6 empty] | Change from IDM 12 | [6 empty] | Intra-day 18 (IDM 18) Against Instruction | [6 empty] | Intra-day 18 (IDM 18) On Instruction
| MCR | Price | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6 |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 240 | 240 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
North Solar | 300 | 0 | 0 | 0 | 240 | 240 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 240 | 240 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
West Wind | 500 | 0 | 200 | 260 | 260 | 405 | 330 | 130 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 200 | 260 | 260 | 405 | 330 | 130 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
South Wind | 200 | 0 | 150 | 100 | 100 | 100 | 220 | 220 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 150 | 100 | 100 | 100 | 220 | 220 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Coal Gen | 2000 | 1000 | 1400 | 1400 | 1150 | 1000 | 1000 | 1000 | Coal Gen | 0 | 0 | 0 | 0 | -230 | -330 | Coal Gen | 1400 | 1400 | 1150 | 1000 | 1000 | 1000 | Coal Gen | 0 | 0 | 0 | 0 | -230 | -330 | Coal Gen | 0 | 0 | 0 | 0 | -230 | -330 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
East Mine | 600 | 1500 | 0 | 190 | 0 | 0 | 460 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 190 | 0 | 0 | 600 | 330 | East Mine | 0 | 0 | 0 | 0 | 140 | 330 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | -140 | -330 | 1 | 0 | 0 | 0 | 1 | 0
East Agric | 200 | 1600 | -150 | -150 | -150 | -150 | -100 | -100 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | -150 | -150 | -150 | -150 | -10 | -100 | East Agric | 0 | 0 | 0 | 0 | 90 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | -90 | 0 | 1 | 0 | 0 | 0 | 1 | 0
South Co-op | 100 | 1800 | -200 | -200 | -290 | -290 | -180 | -180 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | -200 | -200 | -290 | -290 | -180 | -180 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
New Smelter | 600 | 2400 | -600 | -600 | -600 | -600 | -600 | -600 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | -600 | -600 | -600 | -600 | -600 | -600 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Gas Gen | 1500 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Capital Munic | 0 | 5000 | -100 | -300 | -310 | -310 | -660 | -100 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | -100 | -300 | -310 | -310 | -660 | -100 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Port Town | 0 | 5000 | -100 | -100 | -100 | -100 | -100 | -100 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | -100 | -100 | -100 | -100 | -100 | -100 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
East Mine | 0 | 5000 | -600 | -600 | -540 | -535 | -600 | -600 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | -600 | -600 | -540 | -535 | -600 | -600 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Load shedding |  | 75000 | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | -230 | -330 |  | 0 | 0 | 0 | 0 | -230 | -330 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | -230 | -330 |  | 0 | 0 | 0 | 0 | -230 | -330
P5 and P6 occur after IDM 18, others locked | [15 empty] | West | 950 | 960 | 860 | 855 | 770 | 570 | [7 empty] | +ve Energy sold against instruction; -ve Energy purchased against instruction | [6 empty] | +ve Energy purchased on instruction; -ve Energy sold on instruction
[16 empty] | East | -950 | -960 | -860 | -855 | -770 | -570 | [7 empty] | Intra-day price (0) | 1000 | 1500 | 1000 | 1000 | 1539.13 | 1500

## Actual
Actual production / consumption | [8 empty] | Scheduled Generation (IDM revised)
| P1 | P2 | P3 | P4 | P5 | P6 |  |  |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 0 | 0 | 235 | 240 | 0 | 0 |  |  | West Solar | 0 | 0 | 240 | 240 | 0 | 0
North Solar | 0 | 0 | 250 | 240 | 0 | 0 |  |  | North Solar | 0 | 0 | 240 | 240 | 0 | 0
West Wind | 200 | 250 | 250 | 400 | 330 | 130 |  |  | West Wind | 200 | 260 | 260 | 405 | 330 | 130
South Wind | 150 | 100 | 120 | 100 | 218 | 225 |  |  | South Wind | 150 | 100 | 100 | 100 | 220 | 220
Coal Gen | 1400 | 1000 | 1000 | 1000 | 1000 | 1000 |  |  | Coal Gen | 1400 | 1400 | 1150 | 1000 | 1000 | 1000
East Mine | 0 | 500 | 85 | 0 | 450 | 265 |  |  | East Mine | 0 | 190 | 0 | 0 | 600 | 330
East Agric | -150 | -200 | -150 | -150 | -18 | -100 |  |  | East Agric | -150 | -150 | -150 | -150 | -10 | -100
South Co-op | -200 | -220 | -240 | -285 | -120 | -120 |  |  | South Co-op | -200 | -200 | -290 | -290 | -180 | -180
New Smelter | -600 | -600 | -600 | -600 | -600 | -600 |  |  | New Smelter | -600 | -600 | -600 | -600 | -600 | -600
Gas Gen | 0 | 170 | 0 | 0 | 100 | 0 |  |  | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | -100 | -300 | -310 | -310 | -660 | -100 |  |  | Capital Munic | -100 | -300 | -310 | -310 | -660 | -100
Port Town | -100 | -100 | -100 | -100 | -100 | -100 |  |  | Port Town | -100 | -100 | -100 | -100 | -100 | -100
East Mine | -600 | -600 | -540 | -535 | -600 | -600 |  |  | East Mine | -600 | -600 | -540 | -535 | -600 | -600
Load shedding | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Load shedding | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total | 0 | 0 | 0 | 0 | 0 | 0
Note: +ve production; -ve consumption | [9 empty] | IDM 0 | IDM 6 | IDM 6 | IDM 12 | IDM 18 | IDM 18
West | 950 | 530 | 765 | 855 | 828 | 635 |  |  | West | 950 | 960 | 860 | 855 | 770 | 570
East | -950 | -530 | -765 | -855 | -828 | -635 |  |  | East | -950 | -960 | -860 | -855 | -770 | -570
Instructed Energy
| P1 | P2 | P3 | P4 | P5 | P6 | MCR | Price
West Solar | 0 | 0 | 235 | 240 | 0 | 0 | 300 | 0
North Solar | 0 | 0 | 250 | 240 | 0 | 0 | 300 | 0
West Wind | 200 | 250 | 250 | 400 | 330 | 130 | 500 | 0
South Wind | 150 | 100 | 120 | 100 | 218 | 225 | 200 | 0
Coal Gen | 1400 | 1400 | 1150 | 1000 | 1000 | 1000 | 2000 | 1000
East Mine | 0 | 500 | 85 | 0 | 450 | 265 | 600 | 1500
East Agric | -150 | -200 | -150 | -150 | -10 | -100 | 200 | 1600
South Co-op | -200 | -200 | -290 | -290 | -180 | -180 | 100 | 1800
New Smelter | -600 | -600 | -600 | -600 | -600 | -600 | 600 | 2400
Gas Gen | 0 | 170 | 0 | 0 | 100 | 0 | 1500 | 3000
Capital Munic | -100 | -300 | -310 | -310 | -660 | -100 | 0 | 5000
Port Town | -100 | -100 | -100 | -100 | -100 | -100 | 0 | 5000
East Mine | -600 | -600 | -540 | -535 | -600 | -600 | 0 | 5000
Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75000
Total Instructed | 0 | 420 | 100 | -5 | -52 | -60
Note: +ve production; -ve consumption
West | 950 | 950 | 865 | 850 | 768 | 575
East | -950 | -530 | -765 | -855 | -820 | -635
Balancing Prices
Imbalance Energy Bought | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 0 | 0 | 0 | 0 | 0 | 0
North Solar | 0 | 0 | 0 | 0 | 0 | 0
West Wind | 0 | 0 | 0 | 0 | 0 | 0
South Wind | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | 0 | 400 | 150 | 0 | 0 | 0
East Mine | 0 | 0 | 0 | 0 | 0 | 0
East Agric | 0 | 0 | 0 | 0 | 8 | 0
South Co-op | 0 | 20 | 0 | 0 | 0 | 0
New Smelter | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | 0 | 0 | 0 | 0 | 0 | 0
Port Town | 0 | 0 | 0 | 0 | 0 | 0
East Mine | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 420 | 150 | 0 | 8 | 0
Imbalance Energy Sold | P1 | P2 | P3 | P4 | P5 | P6
West Solar | 0 | 0 | 0 | 0 | 0 | 0
North Solar | 0 | 0 | 0 | 0 | 0 | 0
West Wind | 0 | 0 | 0 | 0 | 0 | 0
South Wind | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | 0 | 0 | 0 | 0 | 0 | 0
East Mine | 0 | 0 | 0 | 0 | 0 | 0
East Agric | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | 0 | 0 | 50 | 5 | 60 | 60
New Smelter | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | 0 | 0 | 0 | 0 | 0 | 0
Port Town | 0 | 0 | 0 | 0 | 0 | 0
East Mine | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 0 | 50 | 5 | 60 | 60

## Balancing Prices
Balancing Stack Up (Bought) | [8 empty] | Required Stack
|  | Price | P1 | P2 | P3 | P4 | P5 | P6 | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 1000 | 0 | 0 | 180 | 330 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0
East Mine | Supply | 1500 | 600 | 400 | 600 | 600 | 300 | 550 | 0 | 400 | 0 | 0 | 8 | 0
East Agric | Demand | 1600 | 200 | 200 | 200 | 200 | 200 | 200 | 0 | 20 | 0 | 0 | 0 | 0
South Co-op | Demand | 1800 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0
New Smelter | Demand | 2400 | 600 | 600 | 600 | 600 | 600 | 600 | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 3000 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Balancing Stack Up (Sold) | [8 empty] | Required Stack
|  | Price | P1 | P2 | P3 | P4 | P5 | P6 | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 240 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 240 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 200 | 250 | 250 | 400 | 300 | 50 | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 150 | 100 | 100 | 100 | 200 | 200 | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 1000 | 1400 | 1400 | 1220 | 1070 | 1400 | 1400 | 0 | 0 | 50 | 5 | 0 | 10
East Mine | Supply | 1500 | 0 | 200 | 0 | 0 | 300 | 50 | 0 | 0 | 0 | 0 | 60 | 50
East Agric | Demand | 1600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | Demand | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Smelter | Demand | 2400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Balancing Price Bought (indicative) |  |  | 1050 | 1575 | 1050 | 1050 | 1575 | 1575
Balancing Price Bought (transition) |  |  | 1050 | 1575 | 1050 | 1050 | 1575 | 1575
Balancing Price Sold (indicative) |  |  | 950 | 1425 | 950 | 950 | 1425 | 1416.6667
Balancing Price Sold (transition) |  |  | 950 | 1425 | 950 | 950 | 1425 | 1425

## DA Payments
Payment (ZAR)
Participant | Type | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 240000 | 240000 | 0 | 0
North Solar | Supply | 0 | 0 | 240000 | 240000 | 0 | 0
West Wind | Supply | 200000 | 375000 | 250000 | 400000 | 450000 | 75000
South Wind | Supply | 150000 | 150000 | 100000 | 100000 | 300000 | 300000
Coal Gen | Supply | 1400000 | 2100000 | 1220000 | 1070000 | 2000000 | 2100000
East Mine | Supply | 0 | 300000 | 0 | 0 | 600000 | 75000
East Agric | Demand | -150000 | -225000 | -150000 | -150000 | -150000 | -150000
South Co-op | Demand | -200000 | -300000 | -300000 | -300000 | -300000 | -300000
New Smelter | Demand | -600000 | -900000 | -600000 | -600000 | -900000 | -900000
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | -100000 | -450000 | -300000 | -300000 | -900000 | -150000
Port Town | Demand | -100000 | -150000 | -100000 | -100000 | -150000 | -150000
East Mine | Demand | -600000 | -900000 | -600000 | -600000 | -900000 | -900000
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  | 0 | 0 | 0 | 0 | 50000 | 0
Unconstrained |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar |  | 0 | 0 | 240000 | 240000 | 0 | 0
North Solar |  | 0 | 0 | 240000 | 240000 | 0 | 0
West Wind |  | 200000 | 375000 | 250000 | 400000 | 450000 | 75000
South Wind |  | 150000 | 150000 | 100000 | 100000 | 300000 | 300000
Coal Gen |  | 1400000 | 2100000 | 1220000 | 1070000 | 2100000 | 2100000
East Mine |  | 0 | 300000 | 0 | 0 | 450000 | 75000
East Agric |  | -150000 | -225000 | -150000 | -150000 | -150000 | -150000
South Co-op |  | -200000 | -300000 | -300000 | -300000 | -300000 | -300000
New Smelter |  | -600000 | -900000 | -600000 | -600000 | -900000 | -900000
Gas Gen |  | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic |  | -100000 | -450000 | -300000 | -300000 | -900000 | -150000
Port Town |  | -100000 | -150000 | -100000 | -100000 | -150000 | -150000
East Mine |  | -600000 | -900000 | -600000 | -600000 | -900000 | -900000
Load shedding |  | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0
Constrained |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar |  | 0 | 0 | 0 | 0 | 0 | 0
North Solar |  | 0 | 0 | 0 | 0 | 0 | 0
West Wind |  | 0 | 0 | 0 | 0 | 0 | 0
South Wind |  | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen |  | 0 | 0 | 0 | 0 | -100000 | 0
East Mine |  | 0 | 0 | 0 | 0 | 150000 | 0
East Agric |  | 0 | 0 | 0 | 0 | 0 | 0
South Co-op |  | 0 | 0 | 0 | 0 | 0 | 0
New Smelter |  | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen |  | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic |  | 0 | 0 | 0 | 0 | 0 | 0
Port Town |  | 0 | 0 | 0 | 0 | 0 | 0
East Mine |  | 0 | 0 | 0 | 0 | 0 | 0
Load shedding |  | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  | 0 | 0 | 0 | 0 | 50000 | 0

## Intra-day Payments
Intra-day Payments
Total Intra-day Payment |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 15000 | 10000 | 5000 | 40000 | 97857
South Wind | Supply | 0 | 0 | 0 | 0 | 20000 | 20000
Coal Gen | Supply | 0 | 0 | -70000 | -70000 | -423999.9 | -565000
East Mine | Supply | 0 | -15000 | 0 | 0 | 300000 | 420000
East Agric | Demand | 0 | 0 | 0 | 0 | 144000 | 0
South Co-op | Demand | 0 | 0 | 10000 | 10000 | 30000 | 27142.8
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 0 | 0 | -10000 | -10000 | -90000 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 60000 | 65000 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  | 0 | 0 | 0 | 0 | 20000.1 | -0.2
Intra-day -6 |  | P1 | P2 | P3 | P4 | P5 | P6 | Intra-day -6 On Inst | P1 | P2 | P3 | P4 | P5 | P6 | Intra-day -6 Against Inst | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | NB: Difference from draft Market Code - payment for energy sold in IDM different depending on whether instructed or not.
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 15000 | 10000 | 5000 | 30000 | 67857 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 15000 | 10000 | 5000 | 30000 | 67857
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 0 | 0 | -10000 | -5000 | -40000 | -20000 | Coal Gen | 0 | 0 | -10000 | -5000 | -40000 | -20000 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Supply | 0 | -15000 | 0 | 0 | 90000 | -75000 | East Mine | 0 | -15000 | 0 | 0 | 90000 | -75000 | East Mine | 0 | 0 | 0 | 0 | 0 | 0
East Agric | Demand | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | Demand | 0 | 0 | 10000 | 10000 | 30000 | 27142.8 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 10000 | 10000 | 30000 | 27142.8
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 0 | 0 | -10000 | -10000 | -90000 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | -10000 | -10000 | -90000 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 0 | 0 | 0 | 20000 | -0.2 | Total | 0 | -15000 | -10000 | -5000 | 50000 | -95000 | Total | 0 | 15000 | 10000 | 5000 | -30000 | 94999.8
Intra-day 0 |  | P1 | P2 | P3 | P4 | P5 | P6 | Intra-day 0 On Inst | P1 | P2 | P3 | P4 | P5 | P6 | Intra-day 0 Against Inst | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 0 | 0 | -60000 | -65000 | 0 | 0 | Coal Gen | 0 | 0 | -60000 | -65000 | 0 | 0 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Supply | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0
East Agric | Demand | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | Demand | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 60000 | 65000 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 60000 | 65000 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 0 | 0 | 0 | 0 | 0 | Total | 0 | 0 | -60000 | -65000 | 0 | 0 | Total | 0 | 0 | 60000 | 65000 | 0 | 0
Intra-day 6 |  | P1 | P2 | P3 | P4 | P5 | P6 | Intra-day 6 On Inst | P1 | P2 | P3 | P4 | P5 | P6 | Intra-day 6 Against Inst | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Supply | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0
East Agric | Demand | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | Demand | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 0 | 0 | 0 | 0 | 0 | Total | 0 | 0 | 0 | 0 | 0 | 0 | Total | 0 | 0 | 0 | 0 | 0 | 0
Intra-day 12 |  | P1 | P2 | P3 | P4 | P5 | P6 | Intra-day 12 On Inst | P1 | P2 | P3 | P4 | P5 | P6 | Intra-day 12 Against Inst | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 10000 | 30000 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 10000 | 30000
South Wind | Supply | 0 | 0 | 0 | 0 | 20000 | 20000 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 20000 | 20000
Coal Gen | Supply | 0 | 0 | 0 | 0 | -30000 | -50000 | Coal Gen | 0 | 0 | 0 | 0 | -30000 | -50000 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Supply | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0
East Agric | Demand | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | Demand | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 0 | 0 | 0 | 0 | 0 | Total | 0 | 0 | 0 | 0 | -30000 | -50000 | Total | 0 | 0 | 0 | 0 | 30000 | 50000
Intra-day 18 |  | P1 | P2 | P3 | P4 | P5 | P6 | Intra-day 12 On Inst | P1 | P2 | P3 | P4 | P5 | P6 | Intra-day 12 Against Inst | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0 | West Solar | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0 | North Solar | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0 | West Wind | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0 | South Wind | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 0 | 0 | 0 | 0 | -353999.9 | -495000 | Coal Gen | 0 | 0 | 0 | 0 | 0 | 0 | Coal Gen | 0 | 0 | 0 | 0 | -353999.9 | -495000
East Mine | Supply | 0 | 0 | 0 | 0 | 210000 | 495000 | East Mine | 0 | 0 | 0 | 0 | 210000 | 495000 | East Mine | 0 | 0 | 0 | 0 | 0 | 0
East Agric | Demand | 0 | 0 | 0 | 0 | 144000 | 0 | East Agric | 0 | 0 | 0 | 0 | 144000 | 0 | East Agric | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | Demand | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0 | South Co-op | 0 | 0 | 0 | 0 | 0 | 0
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0 | New Smelter | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0 | Gas Gen | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0 | Capital Munic | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0 | Port Town | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0 | East Mine | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0 | Load shedding | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 0 | 0 | 0 | 0.1 | 0 | Total | 0 | 0 | 0 | 0 | 354000 | 495000 | Total | 0 | 0 | 0 | 0 | -353999.9 | -495000

## Balancing Payments
Balancing Payments (ZAR)
Total Balancing Payment |  | P1 | P2 | P3 | P4 | P5 | P6 | 0 | Transition/Indicative (0=Transition; 1=Indicative)
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 0 | -630000 | -157500 | 0 | 0 | 0
East Mine | Supply | 0 | 465000 | 127500 | 0 | 90000 | 39000
East Agric | Demand | 0 | 10000 | 0 | 0 | -12600 | 0
South Co-op | Demand | 0 | -31500 | 47500 | 10000 | 85500 | 85500
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 510000 | 0 | 0 | 300000 | 0
Capital Munic | Demand | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  | 0 | 323500 | 17500 | 10000 | 462900 | 124500
Additional Sales on Instruction |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Supply | 0 | 465000 | 127500 | 0 | 0 | 0
East Agric | Demand | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | Demand | 0 | 0 | 0 | 0 | 0 | 0
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 510000 | 0 | 0 | 300000 | 0
Capital Munic | Demand | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0
Additional Purchases on Instruction |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Supply | 0 | 0 | 0 | 0 | 90000 | 39000
East Agric | Demand | 0 | 10000 | 0 | 0 | 0 | 0
South Co-op | Demand | 0 | 0 | 0 | 0 | 0 | 0
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0
Additional Sales within MAB |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Supply | 0 | 0 | 0 | 0 | 0 | 0
East Agric | Demand | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | Demand | 0 | 0 | 0 | 0 | 0 | 0
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0
Additional Purchases within MAB |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Supply | 0 | 0 | 0 | 0 | 0 | 0
East Agric | Demand | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | Demand | 0 | 0 | 0 | 0 | 0 | 0
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0
Additional Sales against Instruction |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Supply | 0 | 0 | 0 | 0 | 0 | 0
East Agric | Demand | 0 | 0 | 0 | 0 | 0 | 0
South Co-op | Demand | 0 | 0 | 47500 | 4750 | 85500 | 85500
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0
Additional Purchases against Instruction |  | P1 | P2 | P3 | P4 | P5 | P6
West Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
North Solar | Supply | 0 | 0 | 0 | 0 | 0 | 0
West Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
South Wind | Supply | 0 | 0 | 0 | 0 | 0 | 0
Coal Gen | Supply | 0 | -630000 | -157500 | 0 | 0 | 0
East Mine | Supply | 0 | 0 | 0 | 0 | 0 | 0
East Agric | Demand | 0 | 0 | 0 | 0 | -12600 | 0
South Co-op | Demand | 0 | -31500 | 0 | 5250 | 0 | 0
New Smelter | Demand | 0 | 0 | 0 | 0 | 0 | 0
Gas Gen | Supply | 0 | 0 | 0 | 0 | 0 | 0
Capital Munic | Demand | 0 | 0 | 0 | 0 | 0 | 0
Port Town | Demand | 0 | 0 | 0 | 0 | 0 | 0
East Mine | Demand | 0 | 0 | 0 | 0 | 0 | 0
Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0

## Total payment
Market Payment (ZAR) | [8 empty] | Average price (R/MWh)
| Participant | Type | P1 | P2 | P3 | P4 | P5 | P6 | P1 | P2 | P3 | P4 | P5 | P6
TOTAL | West Solar | Supply | 0 | 0 | 240000 | 240000 | 0 | 0 | 1000 | 1500 | 1021.2766 | 1000 | 1500 | 1500
| North Solar | Supply | 0 | 0 | 240000 | 240000 | 0 | 0 | 1000 | 1500 | 960 | 1000 | 1500 | 1500
| West Wind | Supply | 200000 | 390000 | 260000 | 405000 | 490000 | 172857 | 1000 | 1560 | 1040 | 1012.5 | 1484.8485 | 1329.6692
| South Wind | Supply | 150000 | 150000 | 100000 | 100000 | 320000 | 320000 | 1000 | 1500 | 833.3333 | 1000 | 1467.8899 | 1422.2222
| Coal Gen | Supply | 1400000 | 1470000 | 992500 | 1000000 | 1576000.1 | 1535000 | 1000 | 1470 | 992.5 | 1000 | 1576.0001 | 1535
| East Mine | Supply | 0 | 750000 | 127500 | 0 | 990000 | 534000 | 1000 | 1500 | 1500 | 1000 | 2200 | 2015.0943
| East Agric | Demand | -150000 | -215000 | -150000 | -150000 | -18600 | -150000 | 1000 | 1075 | 1000 | 1000 | 1033.3333 | 1500
| South Co-op | Demand | -200000 | -331500 | -242500 | -280000 | -184500 | -187357.2 | 1000 | 1506.8182 | 1010.4167 | 982.4561 | 1537.5 | 1561.31
| New Smelter | Demand | -600000 | -900000 | -600000 | -600000 | -900000 | -900000 | 1000 | 1500 | 1000 | 1000 | 1500 | 1500
| Gas Gen | Supply | 0 | 510000 | 0 | 0 | 300000 | 0 | 1000 | 3000 | 1000 | 1000 | 3000 | 1500
| Capital Munic | Demand | -100000 | -450000 | -310000 | -310000 | -990000 | -150000 | 1000 | 1500 | 1000 | 1000 | 1500 | 1500
| Port Town | Demand | -100000 | -150000 | -100000 | -100000 | -150000 | -150000 | 1000 | 1500 | 1000 | 1000 | 1500 | 1500
| East Mine | Demand | -600000 | -900000 | -540000 | -535000 | -900000 | -900000 | 1000 | 1500 | 1000 | 1000 | 1500 | 1500
| Load shedding | Demand | 0 | 0 | 0 | 0 | 0 | 0 | 1000 | 1500 | 1000 | 1000 | 1500 | 1500
| Total |  | P1: 0; P2: 323500; P3: 17500; P4: 10000; P5: 512900; P6: 124500
DAY-AHEAD ENERGY | West Solar | Supply | P1: 0; P2: 0; P3: 240000; P4: 240000; P5: 0; P6: 0
| North Solar | Supply | P1: 0; P2: 0; P3: 240000; P4: 240000; P5: 0; P6: 0
| West Wind | Supply | P1: 200000; P2: 375000; P3: 250000; P4: 400000; P5: 450000; P6: 75000
| South Wind | Supply | P1: 150000; P2: 150000; P3: 100000; P4: 100000; P5: 300000; P6: 300000
| Coal Gen | Supply | P1: 1400000; P2: 2100000; P3: 1220000; P4: 1070000; P5: 2000000; P6: 2100000
| East Mine | Supply | P1: 0; P2: 300000; P3: 0; P4: 0; P5: 600000; P6: 75000
| East Agric | Demand | P1: -150000; P2: -225000; P3: -150000; P4: -150000; P5: -150000; P6: -150000
| South Co-op | Demand | P1: -200000; P2: -300000; P3: -300000; P4: -300000; P5: -300000; P6: -300000
| New Smelter | Demand | P1: -600000; P2: -900000; P3: -600000; P4: -600000; P5: -900000; P6: -900000
| Gas Gen | Supply | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| Capital Munic | Demand | P1: -100000; P2: -450000; P3: -300000; P4: -300000; P5: -900000; P6: -150000
| Port Town | Demand | P1: -100000; P2: -150000; P3: -100000; P4: -100000; P5: -150000; P6: -150000
| East Mine | Demand | P1: -600000; P2: -900000; P3: -600000; P4: -600000; P5: -900000; P6: -900000
| Load shedding | Demand | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| Total |  | P1: 0; P2: 0; P3: 0; P4: 0; P5: 50000; P6: 0
INTRA_DAY | West Solar | Supply | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| North Solar | Supply | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| West Wind | Supply | P1: 0; P2: 15000; P3: 10000; P4: 5000; P5: 40000; P6: 97857
| South Wind | Supply | P1: 0; P2: 0; P3: 0; P4: 0; P5: 20000; P6: 20000
| Coal Gen | Supply | P1: 0; P2: 0; P3: -70000; P4: -70000; P5: -423999.9; P6: -565000
| East Mine | Supply | P1: 0; P2: -15000; P3: 0; P4: 0; P5: 300000; P6: 420000
| East Agric | Demand | P1: 0; P2: 0; P3: 0; P4: 0; P5: 144000; P6: 0
| South Co-op | Demand | P1: 0; P2: 0; P3: 10000; P4: 10000; P5: 30000; P6: 27142.8
| New Smelter | Demand | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| Gas Gen | Supply | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| Capital Munic | Demand | P1: 0; P2: 0; P3: -10000; P4: -10000; P5: -90000; P6: 0
| Port Town | Demand | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| East Mine | Demand | P1: 0; P2: 0; P3: 60000; P4: 65000; P5: 0; P6: 0
| Load shedding | Demand | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| Total |  | P1: 0; P2: 0; P3: 0; P4: 0; P5: 20000.1; P6: -0.2
BALANCING | West Solar | Supply | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| North Solar | Supply | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| West Wind | Supply | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| South Wind | Supply | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| Coal Gen | Supply | P1: 0; P2: -630000; P3: -157500; P4: 0; P5: 0; P6: 0
| East Mine | Supply | P1: 0; P2: 465000; P3: 127500; P4: 0; P5: 90000; P6: 39000
| East Agric | Demand | P1: 0; P2: 10000; P3: 0; P4: 0; P5: -12600; P6: 0
| South Co-op | Demand | P1: 0; P2: -31500; P3: 47500; P4: 10000; P5: 85500; P6: 85500
| New Smelter | Demand | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| Gas Gen | Supply | P1: 0; P2: 510000; P3: 0; P4: 0; P5: 300000; P6: 0
| Capital Munic | Demand | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| Port Town | Demand | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| East Mine | Demand | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| Load shedding | Demand | P1: 0; P2: 0; P3: 0; P4: 0; P5: 0; P6: 0
| Total |  | P1: 0; P2: 323500; P3: 17500; P4: 10000; P5: 462900; P6: 124500